{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["报价单"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"报价单","index":0,"n_rows":87,"n_cols":11,"rows_kept":87,"merged":[[1,1,1,10],[2,1,2,5],[2,6,2,10],[19,1,19,2],[19,3,19,5],[19,6,19,7],[19,8,19,10],[20,1,20,5],[20,6,20,10],[37,1,37,2],[37,3,37,5],[37,6,37,7],[37,8,37,10],[38,1,38,5],[38,6,38,10],[54,1,54,2],[54,3,54,5],[54,6,54,7],[54,8,54,10],[55,1,55,5],[55,6,55,10],[72,1,72,2],[72,3,72,5],[72,6,72,7],[72,8,72,10],[73,1,73,5],[73,6,73,10],[75,1,75,5],[76,4,76,5],[77,4,77,5],[78,4,78,5],[79,4,79,5],[80,4,80,5],[81,4,81,5],[82,4,82,5],[83,4,83,5],[84,4,84,5],[85,3,85,5],[86,3,86,5]]}
[]
[null,"杭州市燃气集团有限公司2025年度8处物管区域10kV高低压配电间维保服务报价单"]
[null,"康桥仓储中心",{"$nulls":4},"小和山绿色能源体验中心"]
[null,"序号","设备名称","单位","数量",null,"序号","设备名称","单位","数量"]
[null,1,"高压环网柜检测、维保","台",4,null,1,"高压中置柜","台",10]
[null,2,"配电变压器 630kVA*2 检测、维保","台",2,null,2,"配电变压器 315kVA*2","台",2]
[null,3,"高压电缆检测、维保","根",2,null,3,"高压电缆","根",2]
[null,4,"低压柜检测、维保","台",9,null,4,"低压柜检测、维保","台",10]
[null,5,"安全用具检测","套",1,null,5,"安全用具检测","套",1]
[null,6,"接地检测","项",1,null,6,"接地检测","项",1]
[null,"序号","维保检修项目名称","单位","数量","报价","序号","维保检修项目名称","单位","数量","报价"]
[null,1,"实时数据监测、采集","项",1,null,1,"实时数据监测、采集","项",1]
[null,2,"智能报警联动功能（20路）","项",1,null,2,"智能报警联动功能（20路）","项",1]
[null,3,"安全用具定期检测（CMA认证企业）","项",1,null,3,"安全用具定期检测（CMA认证企业）","项",1]
[null,4,"预防试验试验、维保","项",1,null,4,"预防试验试验、维保","项",1]
[null,5,"日常巡检及缺陷处理 12次/年","次",12,null,5,"日常巡检及缺陷处理 12次/年","次",12]
[null,6,"应急服务","项",1,null,6,"应急服务","项",1]
[null,7,"用电咨询服务","项",1,null,7,"用电咨询服务","项",1]
[null,8,"配电房标化","项",1,null,8,"配电房标化","项",1]
[null,"合计",{"$nulls":4},"合计"]
[null,"燃气大厦",{"$nulls":4},"龙坞抢修中心"]
[null,"序号","设备名称","单位","数量",null,"序号","设备名称","单位","数量"]
[null,1,"高压环网柜","台",6,null,1,"高压环网柜","台",2]
[null,2,"配电变压器 800kVA*2","台",2,null,2,"配电变压器 315kVA*1 检测、维保","台",1]
[null,3,"高压电缆","根",2,null,3,"高压电缆检测、维保","根",2]
[null,4,"低压柜","台",10,null,4,"低压柜检测、维保","台",4]
[null,5,"安全用具检测","套",1,null,5,"安全用具检测","套",1]
[null,6,"接地检测","项",1,null,6,"接地检测","项",1]
[null,"序号","维保检修项目名称","单位","数量","报价","序号","维保检修项目名称","单位","数量","报价"]
[null,1,"实时数据监测、采集","项",1,null,1,"实时数据监测、采集","项",1]
[null,2,"智能报警联动功能（40路）","项",1,null,2,"智能报警联动功能（20路）","项",1]
[null,3,"安全用具定期检测（CMA认证企业）","项",1,null,3,"安全用具定期检测（CMA认证企业）","项",1]
[null,4,"预防试验试验、维保","项",1,null,4,"预防试验试验、维保","项",1]
[null,5,"日常巡检及缺陷处理 12次/年","次",12,null,5,"日常巡检及缺陷处理 12次/年","次",12]
[null,6,"应急服务","项",1,null,6,"应急服务","项",1]
[null,7,"用电咨询服务","项",1,null,7,"用电咨询服务","项",1]
[null,8,"配电房标化","项",1,null,8,"配电房标化","项",1]
[null,"合计","合计",{"$nulls":3},"合计","合计"]
[null,"七堡抢修基地",{"$nulls":4},"三墩抢修中心"]
[null,"序号","设备名称","单位","数量",null,"序号","设备名称","单位","数量"]
[null,1,"墙隔离检测、维保","台",2,null,1,"高压环网柜检测、维保","台",6]
[null,2,"配电变压器 250kVA*2 检测、维保","台",2,null,2,"配电变压器 250kVA*2 检测、维保","台",2]
[null,3,"低压柜检测、维保","台",8,null,3,"低压柜检测、维保","台",8]
[null,4,"安全用具检测","套",1,null,4,"安全用具检测","套",1]
[null,5,"接地检测","项",1,null,5,"接地检测","项",1]
[null,"序号","维保检修项目名称","单位","数量","报价","序号","维保检修项目名称","单位","数量","报价"]
[null,1,"实时数据监测、采集","项",1,null,1,"实时数据监测、采集","项",1]
[null,2,"智能报警联动功能（13路）","项",1,null,2,"智能报警联动功能（31路）","项",1]
[null,3,"安全用具定期检测（CMA认证企业）","项",1,null,3,"安全用具定期检测（CMA认证企业）","项",1]
[null,4,"预防试验试验、维保","项",1,null,4,"预防试验试验、维保","项",1]
[null,5,"日常巡检及缺陷处理 12次/年","次",12,null,5,"日常巡检及缺陷处理 12次/年","次",12]
[null,6,"应急服务","项",1,null,6,"应急服务","项",1]
[null,7,"用电咨询服务","项",1,null,7,"用电咨询服务","项",1]
[null,8,"配电房标化","项",1,null,8,"配电房标化","项",1]
[null,"合计","合计",{"$nulls":3},"合计","合计"]
[null,"转塘云栖小镇",{"$nulls":4},"滨江能源大楼"]
[null,"序号","设备名称","单位","数量",null,"序号","设备名称","单位","数量"]
[null,1,"高压环网柜检测、维保","台",8,null,1,"高压环网柜","台",6]
[null,2,"配电变压器 250kVA*2 630kVA*1 检测、维保","台",3,null,2,"配电变压器 800kVA*2 ","台",2]
[null,3,"高压电缆检测、维保","根",4,null,3,"高压电缆","根",2]
[null,4,"低压柜检测、维保","台",10,null,4,"低压柜","台",16]
[null,5,"安全用具检测","套",1,null,5,"安全用具检测","套",1]
[null,6,"接地检测","项",2,null,6,"接地检测","项",1]
[null,"序号","维保检修项目名称","单位","数量","报价","序号","维保检修项目名称","单位","数量","报价"]
[null,1,"实时数据监测、采集","项",1,null,1,"实时数据监测、采集","项",1]
[null,2,"智能报警联动功能（18路）","项",1,null,2,"智能报警联动功能（56路）","项",1]
[null,3,"安全用具定期检测（CMA认证企业）","项",1,null,3,"安全用具定期检测（CMA认证企业）","项",1]
[null,4,"预防试验试验、维保","项",1,null,4,"预防试验试验、维保","项",1]
[null,5,"日常巡检及缺陷处理 12次/年","次",12,null,5,"日常巡检及缺陷处理 12次/年","次",12]
[null,6,"应急服务","项",1,null,6,"应急服务","项",1]
[null,7,"用电咨询服务","项",1,null,7,"用电咨询服务","项",1]
[null,8,"配电房标化","项",1,null,8,"配电房标化","项",1]
[null,"合计","合计",{"$nulls":3},"合计","合计"]
[null,"总计"]
[]
[null,"汇总表"]
[null,null,"物管点名称","报价金额","备注"]
[null,1,"康桥仓储中心"]
[null,2,"小和山绿地能源体验中心"]
[null,3,"燃气大厦"]
[null,4,"龙坞抢修中心"]
[null,5,"七堡抢修基地"]
[null,6,"三墩抢修中心"]
[null,7,"转塘云栖小镇"]
[null,8,"滨江能源大楼"]
[null,null,"合计（含税价）"]
[null,null,"大写金额"]